## Slide 1: Urbistic Project Local materials
Amira Chouikh,Syrine Romdhane,Fares Frikha 3AGC
supervised by M.Neji JAMEL
2020-2021

## Slide 2: Plan
1 Introducing local materials
2 Proving the efficiency of its use
3 Approximate Cost
4 Analysis
5 Conclusion and recommendation
2

## Slide 3
3
Introducing local materials
video

## Slide 4: Proving the efficiency of its use
1. Cases
2. INFORMATIONS ABOUT THE STUDIED CASE
3. Resistance and stability

## Slide 5: Cases
Vaulted roof
Wood frame roof
Masonry carrying geo-concrete
Mixed masonry
Masonry carrying geo-concrete
Masonry in classic agglos
Mixed masonry
Resistance
stability
COST
sol2
sol5
sol3
sol1
sol4
4

## Slide 6: INFORMATIONS ABOUT THE STUDIED CASE
5
Project made by SNHLM in Sénégal
1
2
Calculation rules
DTU(6) for the Geo-concrete and mixed masonry
BAEL for dimensionning the frame that contains iron steel
Structural analysis
Determination of the structure’s dimensions
Calculation of the needed quantity of materials
Cost estimation

## Slide 7: Resistance and stability
Geo-concrete structure
6
Wood and containing steel structures
Lateral compression (4)(3): s = 0.53MPa,C=9.43
Shear stress(4)(3) : s = 0.26MPa,C=2.53²
Longitudinal compression(4)(3) : s = 0.13,C=38
Shape that allows the elements to selflock
Resistance and stability
Both structures are dimensionned in the ELS case to hold the calculated loads and to perform a similar stability and resistance to armed concrete.
s : load stress of 12cm(4) thickness ; C : stability factor in longitudianl,lateral compression = 5/ s (5 : bricks average resistance(5)) while for shear stress = shear strength in mortar/s

## Slide 8: Approximate Cost
Cost
Project cost in FCFA

## Slide 9: Cost(3)
7
Construction methods | Possible economy
 | in%
Vaulted roof on masonry carrying geo-concrete | 34,67
Vaulted roof on mixed masonry | 16,82
Wood frame roof on masonry carrying geo-concrete | 8,86
Vaulted roof on mixed masonry | 29,63
Solution 1 : Wood frame on classic agglos maçonnerie is the best construction method
Generally required in tender documents and for
consumers.

## Slide 10: Project cost in FCFA(2)
8
1m2 of Slab made with :
Cement,sea sand,water hollow and solid bricks costs 20897,16 FCFA while a normal slab made purely with armed concrete can cost 59462,67 FCFA (2).
materials | quantity | prix unitaire FCFA | Prix total FGFA
cement (sac de 50 kg) | 180 | 1760 | 316 800
sea sand (m^3) | 9 | 2125 | 19 125
laoteric sand (m^3) | 11 | 1440 | 15 840
large aggregate (m^3) | 9 | 11250 | 101 250
hollow bricks | 2346 | 130 | 304 980
solid bricks | 681 | 115 | 78 315
water (m^3) | 10 | 200 | 2 044
x bars of 10 | 106 | 1500 | 159 000
y bars of 8 | 68 | 1000 | 68 000
wood (m^3) | 2,239 | 120000 | 268 680
n Fiber cement | 126 | 2432 | 306 432
m false ceiling (m^2) | 77,20 | 750 | 57 900
nails (kg) | 20 | 600 | 12 000
wire (kg) | 4 | 700 | 2 800
 |  |  | 1 713 166
 |  | main d'œuvre | 0
 |  | total | 1 713 166

## Slide 11: analysis
1. Satisfaction degree of the use of local materials
2. Identification of the risk factor
3. Implementation of the derogation

## Slide 12
9

## Slide 13: Satisfaction degree of the use of local materials
Resistance
Comfort
Cost
10

## Slide 14: Identification of the risk factor
A research of the properties of a material composition. Requires :
a good knowledge of the characteristics of the product;
a laboratory study of the properties characterizing the composite material
a test site to observe the behavior of the composite material on site
11

## Slide 15: Implementation of the derogation
The approach followed must make it possible to examine the consequences of the defectiveness the material or the behavior of the structure.
At the end of the process, it should be clearly formulated:
The production conditions and the associated quality approach to ensure the conformity of the materials to those studied;
The nature and extent of the derogation, with all other characteristics of the aggregate remaining in conformity with the specifications;
The possible field of use in the technique under consideration;
Possible adjustments to the composition of the mixture, production, compaction.
12

## Slide 16: Conclusion and recommendation
- Types of local materials
- An economic study
The use of local materials reduces construction costs
13

## Slide 17: Thank you for YOUR attention

## Slide 18: Bibliography
1- Surfaces-Reporter “Local-Materials”. [on line]
2- 2-Laiterie Tahoua, [on line] https://www.enabel.be/sites/default/files/tenders/dqe_infrastructures_appui_dev_elevage_vf_1.pdf
3- AHISSOU, Joseph. utilisation des matériaux locaux dans la construction de
l'habitat économique. Sénegal : s.n., 1993.
4- Timber design manual Laminated Timber Institute of CANADA, Metric Edition.
5- Batirama,liste des DTU, [on line] https://www.batirama.com/article/1964-la-liste-
des-dtu-documents-techniques-unifies-a-jour.html
14